## Hydrant Flow Test Results
WSRB.com ¦ publicprotection@wsrb.com P 206.217.9772
Hydrant Flow Test Results |  | Data Input
Static & Residual Hydrant
City: | Test By: |  | Static: |  | psi
Date: | Notes:
Time: |  |  | Residual: |  | psi
Psi Hyd.:
Flow Hyd.: |  | First Flow Hydrant
Hydrant #: |  |  | Pitot #1: |  | psi
|  |  | Diameter #1: | 2.5 | inches
|  |  | Coefficient #1: | 0.9
Second Flow Hydrant or Port
|  |  | Pitot #2: |  | psi
|  |  | Diameter #2: | 2.5 | inches
|  |  | Coefficient #2: | 0.9
Calculated Results
|  |  | Flow #1 | 0 | gpm
|  |  | Flow #2 | 0 | gpm
|  |  | Total Flowing | 0 | gpm
|  | Available Flow @ 20 psi: |  |  | #NUM! | gpm

## data
Water Supply Data
| 0 | #REF!
| 500 | #REF!
| 1000 | #REF!
| 1500 | #REF!
| 2000 | #REF!
| 2500 | #REF!
| 3000 | #REF!
| 3500 | #REF!
| 4000 | #REF!
| 4500 | #REF!
| 5000 | #REF!
| 5500 | #REF!
| 6000 | #REF!
| 6500 | #REF!
| 7000 | #REF!
| 7500 | #REF!